Consultation Response

Date:		2nd December 2021

Ref: 		P/21/096/ROV

Site: 		Santa Maria, 44 Sally Port, St Mary’s, Isles of Scilly

Proposal: 	Variation of conditions C4 (Approved Plans), C5 (Self-Catering Flats) & C6 (Owners Accommodation) of planning permission P/10/020/FUL granted on 26th April 2010 for the conversion of guesthouse into 6 flats [5x self-catering and 1x owners flat] in order to increase the size of the owners accommodation by reducing the number of self-catering flats to 4.

You are being consulted on this application as you may wish to make comments before a decision is made. Should you wish to make any comments on this application, please complete the response form below and return to planning@scilly.gov.uk by 23rd December 2021 or by post to the Planning Department, Town Hall, The Parade, Hugh Town, St Mary’s, Isles of Scilly TR21 0LW.

Link to application: https://www.scilly.gov.uk/planning-application/planning-application-p21096rov

I look forward to receiving your comments in due course. If I have not heard back from you by the 23rd December 2021 then I will assume you have no comments to make.

Consultee Name:

Comments here

Access and Facilities for the Fire Service as detailed in B5 ADB Volume 1 will be required.  For dwelling houses access for a pumping appliance should be provided to within 45m of all points inside the dwelling house.

It is important to remember that failure to do so may prevent the applicant from obtaining a completion certificate under the Building Regulations but more importantly, the lives of the occupiers will be put at risk.

Holiday Rental Advice

I note from this proposal that Santa Maria is the subject of a change of use.  The applicant/Responsible Person should ensure Santa Maria complies with current Fire Safety Legislation and Guidance as this differs from Building Regulations. The Fire Risk Assessment will need to be amended to take account of the proposed alterations.

Please also consider escape windows are not recognised as a suitable means of escape within fire safety legislation or guidance.

The publication, Fire Safety Risk Assessment- Publication Sleeping Accommodation ISBN 978 1 85112 817 4 or Do you have paying guests? ISBN 978 1 85112 815 0 available from www.cornwall.gov.uk/firesafetyguides should be referred to, to help you meet your legal obligations and to ensure compliance.

Name: Darren Vincent (Business Fire Safety Officer Cornwall Fire & Rescue Service)

Date: 7th December 2021